	[image: image3.jpg]Concept smart
test the quality




	Wood and Specialty Adhesives

Россия

Коммерческий отдел

Тел./Факс :  +7 495 648-50-25
Моб.: +7 926 512-22-03
 sales@concept-smart.com
www.concept-smart.com
Технический отдел

 Тел./Факс :  +7 495 648-50-76
Моб.: +7 926 513-51-72
technical.support@concept-smart.com
www.concept-smart.com
Norway

Telephone +47 63897100 

Telefax +47 63819050

www.dynea.com



EUROPEAN STANDARD

NORME EUROPÉENNE

EUROPÄISCHE NORM

EN 302-1

July 2004

ICS 83.180 Supersedes EN 302-1:1992

English version

Adhesives for load-bearing timber structures - Test methods -

Part 1: Determination of bond strength in longitudinal tensile

shear strength

Adhésifs pour structures portantes en bois - Méthodes

d'essai - Partie 1: Détermination de la résistance du joint au

cisaillement en traction longitudinale

Klebstoffe für tragende Holzbauteile - Prüfverfahren - Teil 1:

Bestimmung der Längszugscherfestigkeit

This European Standard was approved by CEN on 16 April 2004.

CEN members are bound to comply with the CEN/CENELEC Internal Regulations which stipulate the conditions for giving this European

Standard the status of a national standard without any alteration. Up-to-date lists and bibliographical references concerning such national

standards may be obtained on application to the Central Secretariat or to any CEN member.

This European Standard exists in three official versions (English, French, German). A version in any other language made by translation

under the responsibility of a CEN member into its own language and notified to the Central Secretariat has the same status as the official

versions.

CEN members are the national standards bodies of Austria, Belgium, Cyprus, Czech Republic, Denmark, Estonia, Finland, France,

Germany, Greece, Hungary, Iceland, Ireland, Italy, Latvia, Lithuania, Luxembourg, Malta, Netherlands, Norway, Poland, Portugal, Slovakia, Slovenia, Spain, Sweden, Switzerland and United Kingdom.

EUROPEAN COMMITTEE FOR STANDARDIZATION

COMITÉ EUROPÉEN DE NORMALISATION

EUROPÄISCHES KOMITEE FÜR NORMUNG

Management Centre: rue de Stassart, 36 B-1050 Brussels

© 2004 CEN All rights of exploitation in any form and by any means reserved

worldwide for CEN national Members.

Ref. No. EN 302-1:2004: E

Contents

Foreword

1 Scope 
2 Normative references 
3 Principle
4 Safety
5 Apparatus
6 Method 
6.1 Preparation of the bonded assemblies
6.1.1 General
6.1.2 Thin glue lines (close contact joints)
6.1.3 Thick glue lines (gap joints)
6.2 Preparation of test pieces
6.3 Number of test pieces
6.4 Treatment prior to tensile shear testing
6.5 Test procedure
7 Expression of results
8 Test report 
8.1 The adhesive
8.2 Preparation of the test pieces and testing procedure
8.3 Test results
Bibliography 
Foreword

This document (EN 302-1:2004) has been prepared by Technical Committee CEN/TC 193 “Adhesives”, the

secretariat of which is held by AENOR.

This European Standard shall be given the status of a national standard, either by publication of an identical

text or by endorsement, at the latest by January 2005, and conflicting national standards shall be withdrawn at

the latest by January 2005.

This document supersedes EN 302-1:1992.

EN 301 and EN 302 Parts 1 to 4 and Parts 6 and 7 have the following titles.

EN 301 Adhesives, phenolic and aminoplastic, for load-bearing timber structures — Classification and

performance requirements

EN 302 Adhesives for lead-bearing timber structures — Test methods —

Part 1: Determination of bond strength in longitudinal tensile shear strength

Part 2: Determination of resistance to delamination (Laboratory method)

Part 3: Determination of the effect of acid damage to wood fibres by temperature and humidity

cycling on the transverse tensile strength

Part 4: Determination of the effects of wood shrinkage on the shear strength

Part 6: Determination of the conventional pressing time

Part 7: Determination of the conventional working life

ENV 302-5:2001 has the title 'Adhesives for load-bearing timber structures — Test methods —

Part 5: Determination of the conventional assembly time'.

According to the CEN/CENELEC Internal Regulations, the national standards organizations of the following

countries are bound to implement this European Standard: Austria, Belgium, Cyprus, Czech Republic,

Denmark, Estonia, Finland, France, Germany, Greece, Hungary, Iceland, Ireland, Italy, Latvia, Lithuania,

Luxembourg, Malta, Netherlands, Norway, Poland, Portugal, Slovakia, Slovenia, Spain, Sweden, Switzerland

and United Kingdom.

1 Scope

This part of EN 302 specifies a method of determining the shear strength of adhesive bonds. It is applicable to

adhesives used in load-bearing timber structures.

This method is not intended for use to provide numerical design data, nor is it applicable to the assessment of

adhesives for the manufacture of wood-based panels.

2 Normative references

The following referenced documents are indispensable for the application of this document. For dated

references, only the edition cited applies. For undated references, the latest edition of the referenced

document (including any amendments) applies.

EN 301, Adhesives, phenolic and aminoplastic — for load-bearing timber structures: Classification and

performance requirements.

ISO 5893, Rubber and plastics test equipment — Tensile, flexural and compression types (constant rate of

traverse) — Specification.

3 Principle

The shear strength of adhesive bonds is determined by applying a longitudinal tensile force to a single lap

joint with thin and thick glue lines between two rectangular wooden adherends made of beech (Fagus

sylvatica L). The joints are strained to rupture.

4 Safety

Persons using this standard shall be familiar with normal laboratory practice.

This document does not purport to address all the safety problems, if any, associated with its use.

It is responsibility of the user to establish health and safety practices and to ensure compliance with any

European and national regulatory conditions.

5 Apparatus

The testing machine shall be either:

a) a constant rate of loading machine, capable of maintaining a rate of loading of (2,0 ± 0,5) kN/min; or

b) a constant rate of traverse machine as described in ISO 5893.

The jaws of the testing machine shall grip the test pieces with a wedge action, ensure self-aligning of the test

piece and prevent slippage during loading.

6 Method

6.1 Preparation of the bonded assemblies

6.1.1 General

By planing prepare two panels (see Figure 1) from an untreated straight-grained board of beech (Fagus

sylvatica L.) with a density of (700 ± 50) kg/m³ at (12 ± 1) % moisture content. All panels to be used for the

same cyclic treatment (including different glue line thicknessess) shall be prepared from the same board.

Ensure that the angle between the growth rings and the surface to be bonded is between 30° and 90°.

Cut the panels across the direction of the grain to a length of at least 300 mm with the necessary allowance

for cross-cutting (saw blade thickness) and along the grain to a width of at least 130 mm with the necessary

allowance for the width of cut as shown in Figure 1. For test on thin glue lines (0,1 mm), use two panels of

(5,0 ± 0,1) mm thickness. For test on thick ((1,0 ± 0,1) mm) glue lines, use one (6,0 ± 0,1) mm thick panel and

one (5,0 ± 0,1) mm thick panel. Make grooves (1,0 ± 0,1) mm deep and (14 ± 1) mm wide in the 6 mm thick

panel used for testing thick glue lines as shown in Figure 1.
[image: image1.emf]
Dimensions in millimetres

Key

a = (1,0 ± 0,1) mm thickness of thick glue line

b = (20,0 ± 0,1) mm width of test piece

c = grooves for thick glue line

l1 = (150 ± 5) mm length of test pieces

s = (5,0 ± 0,1) mm thickness of the panels for thin glue line

= 30° - 90° angle between growth ring and surface to be bonded

Figure 1 — Example of a bonded panel marked for division into individual test pieces

NOTE When comparing strengths of an adhesive when used in thick and thin glue lines, the differences in bond

strength caused by differences in the wood should be minimized. In such cases the panels to be tested are cut from the

same board in the direction of the grain in the following order: two 5 mm panels for the joints with thin glue lines; one 5 mm

panel for the thick glue line joint; one 6 mm panel for the thick glue line joint. The panels are usually cut slightly oversize

and planed down to the required thickness before use.

Condition the panels at a temperature of (20 ± 2) °C and (65 ± 5) % r.h., referred to subsequently as ”the

standard atmosphere [20/65]”.

Prepare bonded assemblies using both thin (approximately 0,1 mm) and thick ((1,0 ± 0,1) mm) glue lines.

Not more than 24 h before bonding either lightly plane or lightly sand each surface to be bonded (using an

abrasive paper of grain size P100 complying with the FEPA-43 document). Remove any dust carefully. Do not

touch or soil the prepared surfaces.

Comply with the adhesive manufacturer's instructions regarding the processing conditions, including the

preparation and application of the adhesive, the spreading of the adhesive, the open and closed assembly

time and the magnitude and duration of the assembly pressure and report them in the test report. For thick

glue lines only adhesives which components have been previously mixed are suitable. After adhesive

application, and before pressure application, the board shall be bonded together as shown in Figure 1,

ensuring that the same board is used to produce a bonded assembly joint.

Bond the panels with the pressure uniformly distributed over the bonded surface.

6.1.2 Thin glue lines (close contact joints)

Bond two 5 mm thick panels as shown in Figure 1 under pressure to produce a 10 mm thick bonded assembly.

6.1.3 Thick glue lines (gap joints)

Pour the adhesive into the grooves of the grooved panel so that it will be squeezed out when pressure is

applied. Assemble under pressure one 6 mm thick grooved panel with one 5 mm thick ungrooved panel, to

produce an 11 mm thick bonded assembly (see Figure 1).

6.2 Preparation of test pieces

After bonding and pressing and before testing, condition the assembly for 7 days in the standard atmosphere

[20/65]. Test pieces shall be cut 3 days or more after bonding.

NOTE A longer conditioning time may be used if recommended by the adhesive manufacturer.

Cut five strips of width b = 20 mm from each bonded assembly along the grain, avoiding areas within 7,5 mm

of the outside long edges of the panel as shown in Figure 1. Cut these strips into test pieces of length

l1 = (150 ± 5) mm as shown in Figure 2.

Make flat bottomed cuts of ≥2,5 mm width in the bonded sections across the grain so that an overlap of width

l2 = (10,0 ± 0,1) mm is defined in the middle section (see Figure 2) centred in the groove in test pieces on thick

glue lines. The cuts are to separate the wood layers and the adhesive layer, but they shall not go beyond the

adhesive layer.
[image: image2.emf]
Dimensions in millimetres

Key

l1 = (150 ± 5) mm total length of test piece

b = (20,0 ± 0,1) mm width of test piece (width of tested surface)

l2 = (10,0 ± 0,1) mm length of overlap (length of tested surface)

s = (5,0 ± 0,1) mm thickness of the panels

= 30° to 90° angle between growth ring and surface s to be bonded

a = (1,0 ± 0,1) mm thickness of the thick glue line

Figure 2 — Lap joint test pieces a) with thin glue line and b) with thick glue line

6.3 Number of test pieces

Test a sufficient number of test pieces to provide 10 valid results for each of the treatments given in Table 1.

Results from tests in which failure occurred in the wood at values below the specified minimum, rather than at

the bond, or in which visual examination shows that the adhesive was not correctly applied, are invalid. All

results, valid or invalid, shall be reported.

6.4 Treatment prior to tensile shear testing

After cutting the test pieces from the cured bonded assemblies, and after conditioning in accordance with 6.2,

subject the test pieces to each treatment specified in Table 1. Ensure that test pieces are horizontal, with free

access to water on all sides, and are supported so that no stress is applied to them.

Table 1 — Type and duration of treatment prior to tensile shear testing

A1 Test immediately after obligatory 7 days in standard atmosphere [20/65] a

A2 4 days soaking in water at (20 ± 5) °C

Samples tested in the wet state

A3 4 days soaking in water at (20 ± 5) °C

Recondition in standard atmosphere [20/65] a to original mass b

Samples tested in the dry state

A4 6 h soaking in boiling water

2 h soaking in water at (20 ± 5) °C

Samples tested in the wet state

A5 6 h soaking in boiling water

2 h soaking in water at (20 ± 5) °C

Recondition in standard atmosphere [20/65] a to original mass b

Samples tested in the dry state

a The standard atmosphere [20/65] is defined as a temperature of (20 2) °C and a relative air

humidity of (65 5) %.

b Tolerance of the original mass within +2 % and -1 %.

6.5 Test procedure

Insert the test piece symmetrically in the jaws of the testing machine (5) so that the distance between the jaws

is within the range of 50 mm to 90 mm. Grip tightly so that the specimen is aligned with its long axis parallel to

the direction of the load. Apply a tensile force until the test piece fails.

For comparative tests of adhesives and for assigning an adhesive to type I or II according to EN 301 the tests

shall be carried out at either:

a) a rate of load increase of (2,0 ± 0,5) kN/min; or

b) a constant rate of jaw separation not exceeding 5 mm/min such that the time required to reach failure is

between 30 s to 90 s.

Record the load at failure.

For every tested test piece, by visual inspection estimate and record the percentage wood failure to the

nearest 10 %.

7 Expression of results

Calculate the shear strength of every test piece according the following formula:

Shear strength Load at failure (N) / 200 (mm2)
Express the result of the test as the mean of the shear strength [N/mm²] of the ten valid tests. Express the

wood failure as a mean of the 10 valid test results (see section 6.3).

8 Test report

8.1 The adhesive

The following information about the adhesive shall be included in the test report:

a) chemical nature and origin of the sample;

b) manufacturer's name and batch number or other means of uniquely identifying the sample;

c) number of components and method of preparation and application.

8.2 Preparation of the test pieces and testing procedure

The following information about the preparation of the test pieces and the testing procedure shall be included

in the test report:

a) wood density expressed in kg/m³ at 12 % moisture content;

b) any special treatment of the panels to be bonded;

c) method of making the bond (i.e. temperature, pressure and duration);

d) time elapsed between the bonding and the preparation of the test pieces;

e) glue line thickness: thin or thick;

f) treatment applied (serial number according to Table 1);

g) type of testing machine (a or b according to Clause 5).

8.3 Test results

The following information about the test results shall be included in the test report:

a) that the test was carried out in accordance with EN 302-1;

b) shear strength value for all tested test pieces expressed in N/mm² rounded to the nearest

0,1 N/mm²;

c) type of failure for every tested test piece (valid or invalid);

d) arithmetic mean of the shear strength of the ten valid test pieces expressed in N/mm² and rounded to the

nearest 0,1 N/mm²;

e) standard deviation expressed in N/mm²;

f) coefficient of variation expressed in %;

g) estimate of the proportion of the tested surface covered by wood fibre (graded as 0 %, 10 %,

20 %, etc., to 100 % wood failure) expressed as the mean value for all valid test results;

h) date of issue of the report;

i) any other factors that may have affected the results.

Bibliography

FEPA 43-19841, Standard for coated abrasive grains of fused alumina and silicon carbide.

1 FEPA document 43-1984 is available from:

British Abrasive Federation, Fair Green House, Sawbridgeworth, Herts, OM21 9AJ England

Fachverband Elektro- und Siliziumkarbid-Hersteller e.V. (FES), Karlstrasse 21, D-60329 Frankfurt, Germany

Fédération Européenne des Fabricants de Produits Abrasifs, 20, avenue Reille; F-75014 Paris, France

Concept Smart. Page 1 of 10

[image: image3.jpg]